# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of Equipment (medical material and dummies) for training in first aid	p 1 /…

Publication reference: 01-01-2SOFT/4.2/85

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Medical Equipment: BTLS Mannequins and Equipment (Little Anne CPR Training Manikin 4-pack or equivalent; Lifelike Child CPR Trainer or equivalent; Infant CPR Trainer or equivalent; Anne QCPR-D Adult Tightening Dummy - SIMPLIPAD tablet and socking system, Corpuls 3 compatible adapter cable – or equivalent; Resusci Junior Basic and SkillGuide – or equivalent; Newborn resuscitation pediatric resuscitation manikin - QCPR with skillguide in rigid bag – or equivalent; Trauma Modules; Anti Choking Trainer or equivalent; Airway Management Trainer for adult or equivalent. |  |  |  |
| 1.1. | Little Anne CPR Training Manikin 4-pack or equivalent – 1 set 4 Little Anne Manikins or equivalent. 4 Soft Pack/Training Mats. 8 Manikin Faces. 8 Airways. 24 Manikin Wipes. Directions for Use |  |  |  |
| 1.2. | Lifelike child CPR trainer or equivalent – 1 unit. Manikin 2 manikin faces 2 airways 6 manikin wipes Jacket for manikin Soft pack carrying case/training mat |  |  |  |
| 1.3. | Infant CPR trainer or equivalent – 1 unit ## Manikin; 1 airway (installed in manikin); 6 manikin wipes; Jumpsuit for manikin; Soft pack carry case. Head-tilt with open/locked airway. Feedback on hand positioning. Visible chest-rise on ventilations. See and feel the baby’s ribs. Landmarks, nipples, breast tip. Limbs with realistic movement. Durable construction with realistic length and weight. 2 AA batteries or equivalent. |  |  |  |
| 1.4. | Anne QCPR-D adult tightening dummy - SIMPLIPAD tablet and socking system, Corpuls 3 compatible adapter cable - or equivalent. – 2 units Anne QCPR AED or equivalent with Airway Head Mannequin, Trolley Suitcase, 2 springs with additional compression (hard and soft), training pads for Laerdal LINK technology or eqiuvalent, airway lubricant, eye set, knee mat, jacket, pants, 50 Resusci mannequin wipes, USB cable (for use with any USB power source) or equivalent, User Guide, ShockLink with Defibrillator Training Electrodes for ShockLink or equivalent, ShockLink Remote Control or equivalent, ShockLink Bag or equivalent and User Guide |  |  |  |
| 1.5. | Resusci Junior Basic and Skill Guide or equivalent – 1 unit #### Resusci Junior QCPR manikin or equivalent includes: Full-Body Manikin with Jacket and Shorts in soft Carry Case that doubles as training mat; Pulse Bulb, Junior Faces (4pcs), Junior Airways (3 pcs), Manikin Wipes (18 pcs), User Guide, AA size batteries (4 pcs) or equivalent, USB-C to USB-A cable and power adapter or equivalent; Includes: SkillGuide, User Guide. |  |  |  |
| 1.6. | Newborn resuscitation pediatric resuscitation manikin - QCPR with skill guide in rigid bag - or equivalent. – 1 units Features: baby about 3 months. Head-tilt with airway open / blocked. Feedback on hand positioning. Visible chest growth on ventilation. See and feel the child's ribs. Highlights, intermammary line. Limbs with realistic movement. Durable construction with realistic length and weight. 2 AA batteries or equivalent. |  |  |  |
| 1.7. | Trauma Modules - Hands and feet for adult mannequins or similar – 2 sets Trauma intubation head: Impaled object in the cheek, avulsed ear, unequal pupils, nasal bleeding, facial contusions, broken teeth and multiple lacerations. Manually generated carotid pulse. Articulates to manikin Seat belt contusion: Contusion with compound fracture clavicle from seat belt injury. Lay-on for chest Burn arm with 1st, 2nd and 3rd degree burns: Burns illustrated with blistering in progressive sequence. Left forearm and hand articulates to manikin at the elbow. Compound fracture radius: Severe laceration to the dorsum of the hand with exposed bone and soft tissue. Open and closed fracture of index finger and severe tear of the fingernail with contusion. Right forearm and hand articulates to manikin at the elbow. Exposed viscera:Abdominal wound with protruding abdominal contents. May be interchanged with blank abdominal module. Large and small caliber entry and exit wounds: Entry wounds may be interchanged with blank deltoid pads. Exit wounds may be interchanged with blank ventral gluteal (small caliber) and dorsal gluteal (large caliber) pads. Impaled Object: Metallic object imbedded in thigh. This may be interchanged with blank module in manikin's thigh. Compound fracture femur: Exposed fractured femur protruding from mid-thigh. May be interchanged with blank module in manikin's thigh. Closed fracture tibia and fibula: Palpation of fracture is possible. Right lower leg articulates to manikin at the knee. Contused ankle and foot: Left lower leg and foot articulates to manikin at the knee. Crushed foot: Severe lacerations, exposed bone, tendon and soft tissue. Complete amputation of the lesser toe. Right foot may be articulated to the manikin at the ankle |  |  |  |
| 1.8. | # Anti Choking Trainer or Choking Charlie or equivalent - 1 unit Lifelike torso manikin. Cast from a human specimen. Heimlich Abdominal Thrust Maneuver training with simulated food boluses |  |  |  |
| 1.9. | # Airway Management Trainer for adult or Laerdal Airway Management Trainer or similar. – 1 unit # For practicing a variety of intubation, ventilation and aspiration techniques. Includes: manikin on sturdy sheet metal, airway demonstration model, cleaning set, lubricating, shipping box and instructions for use.. |  |  |  |
| 2 | Medical equipment for training (Silicone Resuscitator for adults or equivalent; Silicone Resuscitator for junior or equivalent; Silicone Resuscitator for infant or equivalent; Vacuum cleaner, portable, electric or equivalent; Rigid rail for column immobilisation or eqiuvalent; Premium Strapping system or equivalent; Head immobilizer on rigid column bar or equivalent; Adjustable adult collar collar or equivalent; Cervical collar fix small baby or equivalent; Fixed pediatric cervical collar or equivalent; Fixed adult neck collar without neck or equivalent; Cervical collar fixed adult neck short or similar; Cervical collar fixed adult neck normal or sililar; Cervical collar fixed adult neck long or similar; Shovel shackle with fixation century or equivalent; Spencer KED extractor or equivalent; Transfer foil with 8 handles or similar; Vacuum mattress + aluminum pump or similar; 3-seater vacuum set, pump bag or similar. |  |  |  |
| 2.1. | Silicone Resuscitator for adults or equivalent – 2 units Adult size for patients over 20 kg. When higher pressure is necessary the pressure relief valve can be closed by pushing down the valve stem, or using a lock clip. |  |  |  |
| 2.2. | Silicone Resuscitator for junior or equivalent – 2 units Pediatric size for patients between 2,5 and 20 kg. |  |  |  |
| 2.3. | Silicone Resuscitator for infant or equivalent – 2 units Preterm size for patients that weigh less than 2,5 kg. The Pediatric and Preterm LSRs also include a ”Pop Off” valve to prevent airway pressures from exceeding 35 cm H2O, and keep lungs from over inflating. |  |  |  |
| 2.4. | # Vacuum cleaner, portable, electric or Laerdal Suction Unit (LSU) or equivalent. – 2 units One-hand-grip design Canister options: Bemis Disposable Canister systems or equivalent High-efficiency filter kit HEPA rated bacterial filter Does not contain latex Big vacuum regulator dial LED display or equivalent for use day or night TEST - Device Diagnostics program Children vacuum range area on the control panel No-tools-necessary field changeable battery Rechargeable Battery, NiMH, 12 VDC 2 Ah or equivalent External Battery Charger or equivalent 12V DC Power-cord for connection to vehicle connection or equivalent 5-year limited warranty (excluding the canisters, tubing systems, and battery. Battery = 90 days) |  |  |  |
| 2.5. | Rigid rail for column immobilization or BaXstrap Spineboard or equivalent. – 2 units Minimum Dimensions: Length 1830mm (±40mm), Width 406mm (±13mm), Thickness 58mm (±13mm) (16 ±0,5" x 72 ±1,5" x 2.5") Weighs 6.02kg (13.5 lbs.) (single board) Thickness, 2.3 inches 14 handholds. Handhold width of 2 inches. Handhold length of 5.25 inches Minimum storage space for 2 boards of approximately 4.00 inches 12 Pins. Carbon fiber rods. CE marked. Operating temperature: -34°C to 52°C (-29°F to 126°F) Storage temperature: -34°C to 52°C (-29°F to 126°F). 5 year limited warranty Latex free Seamless rotation mold |  |  |  |
| 2.6. | Premium Strapping system or Loop Lock Straps or equivalent – 5 sets Polyweb strap or equivalent. Quick-release Delran buckle or equivalent, no pins needed Includes two separate pieces for each side of the spineboard. |  |  |  |
| 2.7. | # Head immobilizer on rigid column bar or headbed ii head immobilization device or equivalent. 2 units The head immobilization device is made up of a wax coated, corrugated board that holds up in adverse weather conditions. The head immobilization device makes head immobilization easy by enabling providers to quickly strap patients in. |  |  |  |
| 2.8. | # Adjustable adult cervical collar or Stifneck Select Collars – Adult or equivalent. - 3 units Adjustable adult cervical collar is four different collars in one. Stabilize spinal patients correctly and easily with 4 different sizing options that all lock quickly and safely into place. |  |  |  |
| 2.9. | # Cervical collar fix small baby or similar. - 3 units # Collar extrication for small baby Stabilize spinal patients correctly and easily lock quickly and safely into place |  |  |  |
| 2.10. | # Fixed pediatric cervical collar or Stifneck Select Collars Paediatric or equivalent. - 3 units Collar extrication for new borns. Stabilize spinal patients correctly and easily lock quickly and safely into place |  |  |  |
| 2.11. | # Cervical collar fixed adult neck short or similar. - 3 units Extrication collar for adult with short neck. Stabilize spinal patients correctly and easily lock quickly and safely into place |  |  |  |
| 2.12. | # Cervical collar fixed adult neck normal or similar. - 3 units Extrication collar for adult with regular neck. Stabilize spinal patients correctly and easily lock quickly and safely into place |  |  |  |
| 2.13. | # Cervical collar fixed adult neck long or similar. - 3 units Extrication collar for adult with long neck. Stabilize spinal patients correctly and easily lock quickly and safely into place |  |  |  |
| 2.14. | # Shovel shackle with fixation century or equivalent.- 2 units Extremely light and resistent structure The possibility to adjust the length confers high versatility Foldable to save space when stored Smooth surfaces easy to clean The numerous handles make the transport easier Belts with transport bag Aluminum joints for maximum resistance. Spencer SX-R or equivalent. Minimal Technical data: Shortened length 1660 mm; Intermediate length 1 - 1780 mm; Intermediate length 2 - 1900 mm; Intermediate length 3 - 2050 mm; Folded length 1190 mm; Thickness folded 70 mm; Thickness opened 65 mm; Width 440 mm; Material Aluminum; Loading capacity 170 kg; Weight 7,9 ± 0,4 kg; 3 blades, W/3 belts. |  |  |  |
| 2.15. | # Extractor vest Spencer KED or similar. - 2 units Wraparound design provides horizontal flexibility for easy application and vertical rigidity for maximum support of the spine, neck and head during extrication. Built-in handles enable rescuers to get a firm grip on the patient. Adapts to a hip and pelvic splint by simple inversion. Adjustable, fold-back sides permit easy access to patient's chest. Can be used for multiple patient sizes, including children and pregnant women. Sewn-in securing straps and snap lock buckles for quick operation. |  |  |  |
| 2.16. | # Transfer foil with 8 handles or similar. – 2 units Multiple use carrying sheet with 8 handles and anti-slip protection (PAX transfer foil or equivalent). |  |  |  |
| 2.17. | # Vacuum mattress + aluminum pump or similar. – 1 set for external, temporary fracture fixation, and immobilization have been developed and tested throughout the world. Rapid fixation. Quick cleanup. User friendly valve. Chambered beads. Removable straps and handles. Performs in a variety of conditions. X-Ray, CT, and MRI compatible. 24-hour vacuum guarantee 3-year warranty |  |  |  |
| 2.18. | # 3-seater vacuum set, pump bag or similar. – 2 sets # Portable suction unit # Each unit with suction bag # Device diagnostics check critical system functions. Single large knob operates the unit Full "Rib Cage" design protects canister while suction unit meets stringent splash-proof (IP34D) and bump-proof requirements. # Operated at low vacuum levels At 500+ mmHg the db(A) level is 57 or less. Built-in AC/DC power transformer. Can be operated or charged from AC/DC mains or an optional wall bracket. Full range of tracheal and/or oropharyngeal vacuum levels set by a single knob that doubles as a power switch. |  |  |  |
| 3 | Modular rucksack (The kit contains: 2 adult isothermal films, sterile dressing set, Guedel cannula set, IOT size 6-7-8-9, Megill, reflective hammer, infusion pressure infusion set, tensiometer, stethoscope, digital thermometer, glycometer, Yankauer probe, set 3 soft suction probes, Combitube, set laryngoscope handle and 3 blades), Inflatable adult airplane dummies, Detachable face thorax adult mannequin, Detachable face adult dummy, Detachable face child dummy, Detachable front thorax baby mannequin). |  |  |  |
| 3.1. | Modular rucksack - made of red material. – 2 units The kit contains minimum: 2 adult isothermal films, sterile dressing set, feather set, elastic feather set, glove box glove, leucoplast, Guedel cannula set, IOT size 6-7-8-9, Megill, reflective hammer, infusion pressure infusion set, tensiometer, stethoscope, digital thermometer, glycometer, Yankauer probe, set 3 soft suction probes, Combitube, set laryngoscope handle and 3 blades. |  |  |  |
| 3.2. | Inflatable adult airplane dummies or equivalent. - 1 set 1x Inflatable Resuscitation Manikin. 1x CPR and AED Instructional DVD. 1x Foam AED Template. 1x Inflator |  |  |  |
| 3.3. | Detachable face thorax adult mannequin .- 1 set # LA QCPR Chest Cover OR Replacement lungs suitable for Little Anne manikins OR equivalent Pack of 24. |  |  |  |
| 3.4. | Detachable face adult mannequin. .- 1 set Reusable faces for Little Anne or Resusci Anne Manikins or equivalent. Package of 6. |  |  |  |
| 3.5. | Detachable face child dummy. .- 1 set Package of 6. Removable face mask can be used on a one-per-student basis, or continuously with normal disinfection between students. Manikin face masks are realistic. |  |  |  |
| 3.6. | Detachable front thorax baby mannequin or Replacement lungs suitable or equivalent .- 1 set Pack of 24 |  |  |  |