# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of Equipment (medical material and dummies) for training in first aid	p 1 /…

Publication reference: 02-01-2SOFT/4.2/85

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | 4 laptops, Minimum requirements 10xx series, Processor - Intel i5, i7 or AMD Display and resolution - Full HD IPS, 1920 × 1080; RAM - minimum 8 GB (DDR4) - recommended 16 GB; Storage – SSD 500, 15.6 '' screen diagonal HD webcam, HMDI, USB 2.0 / 3.0 |  |  |  |
| 2 | 2 projectors, Minimum requirements Projector : 1920 x 1080 Full HD or equivalent, LED Lamp 140W or equivalent, Lamp Life: 80000 hours or equivalent, 2xHDMI/AV/ xUSB /VGA/ Mic or equivalent., Connecting cable - VGA cable or equivalent, remote control, AAA batteries oe equivalent, HDMI cable or equivalent, support projector (ceiling) 50 mm – 1500 mm or equivalent |  |  |  |
| 3 | ## 2 Projection screen Minimum requirements Size 200x140 cm or equivalent, color: white or grey. Tripod Stand or equivalent |  |  |  |
| 4 | 1 multifunctional A4 unit (printer/ copier/ scanner, black and white) Minimum requirements ## Multifunction printer: Printing technology: Laser or equivalent ; Printing mode: Black & white or equivalent; Main functions: Printing, Scanning, Copying ; Connectivity: USB Network and Wi-Fi or equivalent ; General printer format: A4 ## Printing front / back (Duplex) or equivalent ; Automatic document feeder or equivalent; Display type: LCD LED or equivalent ; Recommended print volume (pages / month): 2000 or equivalent ; Print & copy speed: minimum 30 pages per minute or equivalent ; Scan speed: minimum 20 pages per minute or equivalent ; Processor frequency: minimum 600 MHz or equivalent ; Memory capacity: minimum 128 MB or equivalent ; Compatible operating system: Windows 10 Windows 8 Windows 7 LPD / LPRng Windows Server 2008 Linux CUPS Windows Server 2008 R2 Windows Server 2012 Windows Server 2012 R2 macOS X 10.8.x or later, or equivalent |  |  |  |
| 5 | 1 multifunctional A4 unit (printer/copier/scanner, color) Multifunction printer: Printing technology: Laser or equivalent; Printing mode: Color; Main functions: Scan, Copy, Print; Connectivity: USB Network, Wi-Fi or equivalent; General printer format: A4; Printing front / back (Duplex) or equivalent; Automatic document feeder or equivalent; Scan front / back automatically (Duplex) or equivalent; Display type: Touchscreen or equivalent; Work cycle (pages / month): minimum 80,000 pages or equivalent; Recommended print volume (pages / month) minimum 5000 pages or equivalent; Print & copy speed (color and black & white): minimum 30 pages per minute or equivalent; Scan speed: 25 pages per minute or equivalent; Processor frequency: 1.6 GHz or equivalent; Memory capacity: 4 GB or equivalent; Storage capacity: 16 GB or equivalent; Compatible operating system: Linux Citrix Windows Server 2016 Windows Server 2012 Unix Windows 7 (32/64) Windows 10 (32/64) Windows Server 2008 R2 Windows Server 2012 R2 Windows Server 2008 (32/64) Windows 8 / 8.1 (32 / 64) Macintosh OS X 10.10 or later Windows Server 2019, or equivalent |  |  |  |